## Slide 1
medical Image Analysis
Dr. zobia Suhail
PhD in Medical image processing
Aberystwyth university, Wales, uk (2019)

## Slide 2: medical Image Analysis
Overview of Previous Lecture:
Course overview
Python Introduction using common libraries
How to read and analyze image in Python
Image Intensities
Difference in intensity levels for Grayscale and Color images
Image Histograms
Some Discussion on the Application areas of Image Histograms

## Slide 3: medical Image Analysis
Histogram: [Applications]
Thresholding:
An image histogram can be used to threshold the image to convert it into binary image.
If the image intensities are well separated into two defined objects, the histogram is well
Suited to define the threshold of the image.
The histogram will be bi-modal and the pixel intensities can be separated into two well
Defined groups.

## Slide 4: medical Image Analysis
Histogram: [Applications]
Thresholding:
Image Source: Optimal Threshold Computing in Automatic Image Thresholding using Adaptive Particle Swarm Optimization

## Slide 5: medical Image Analysis
Histogram: [Applications]
Thresholding:
If T is the obtained threshold, then the image can be binarized using the following relation:
For all pixel p in image I:
If p >= T:
p = 0
Else
p = 1

## Slide 6: medical Image Analysis
Histogram: [Applications]
Thresholding:
Import cv2 as cv
Import imageio as io
Im=io.imread(‘original.png’)
thresh=190
r,c=m_img.shape
i=0
j=0
new_im=np.zeros((r,c),dtype=np.uint8)
for i in range(r):
for j in range(c):
if(m_img[i,j]>=thresh):
new_im[i,j]=1
else:
new_im[i,j]=0
plt.imshow(new_im,cmap="gray")
plt.show()
plt.close()
PYTHON

## Slide 7: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Discussion:

## Slide 8: medical Image Analysis
PYTHON
CV and image Resizing
import cv2 as cv
im1=cv.imread('original.png',0)
new_im= cv.resize(im1,(100,100))
plt.imshow(new_im,cmap="gray")
plt.show()
plt.close()
Discussion

## Slide 9: medical Image Analysis
PYTHON
CV and Image show
Python:
import cv2 as cv
im1=cv.imread('original.png',0)
new_im= cv.resize(im1,(100,100))
cv.imshow("new image", im)
cv.waitKey(0)
cv.destroyAllWindows()
Discussion

## Slide 10: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType)

## Slide 11: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType)
Ret,thresh=cv2.threshold(im,120,256,cv2.Threshold_Binary)

## Slide 12: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType)
cv2.THRESH_BINARY
cv2.THRESH_BINARY_INV
cv2.THRESH_TRUNC
cv2.THRESH_TOZERO
cv2.THRESH_TOZERO_INV

## Slide 13: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType)
cv2.THRESH_BINARY

## Slide 14: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType)
cv2.THRESH_BINARY_INV

## Slide 15: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType
cv2.THRESH_TRUNC

## Slide 16: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType
cv2.THRESH_TOZERO

## Slide 17: medical Image Analysis
Histogram: [Applications]
Thresholding:
PYTHON
Thresholding using Pyhton libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv2.threshold(im,thresh,max_value,cv2.ThresholdType
cv2.THRESH_TOZERO_INV

## Slide 18: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold

## Slide 19: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv.threshold(im1,190,255,cv.THRESH_BINARY)

## Slide 20: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv.threshold(im1,190,255,cv.THRESH_BINARY_INV)

## Slide 21: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv.threshold(im1,190,255,cv.THRESH_TRUNC)

## Slide 22: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Ret,dest=cv.threshold(im1,190,255,cv.THRESH_TOZERO)

## Slide 23: medical Image Analysis
Histogram: [Applications]
PYTHON
Thresholding using Python libraries:
Cv2 library in Python for Thresholding
Cv2.threshold
Import cv2 as cv
Thresh=190
Ret,dest=cv.threshold(im,thresh,255,cv.THRESH_TOZERO_INV)
plt.imshow(dest,cmap="gray")
plt.show()
plt.close()